# Preparation of Single-Cell Suspension

## Experimental Materials

### Table 3.1-1 Instrumentation

| Product Name | Model | Manufacturer |
| --- | --- | --- |
| 4°C Centrifuge (other equivalent brands are acceptable) | Allegra X-15R | Beckman Coulter |
| Cell Counter (other equivalent brands are acceptable) | Countess™ II Automated Cell Counter | Thermo Fisher |
| Fluorescence Inverted Microscope | CKX41 | Olympus |
| Vortex Mixer | Vortex-6 | Qilin Bell |
| Constant Temperature Water Bath | - | Shanghai Yiheng Technology Co., Ltd. |

### Table 3.1-2 Reagents and Consumables

| Product Name | Catalog Number | Manufacturer |
| --- | --- | --- |
| Tissue Storage Solution | - | - |
| 0.25% Trypsin (other equivalent brands are acceptable) | 25200-072 | Thermo Fisher |
| DNase I | 11284932001 | Sigma |
| 1X Red Blood Cell Lysis Solution | 00-4333-57 | Thermo Fisher |
| 0.22μm / 0.45μm Filter | -- | Millipore |
| 40 μm Cell Strainers (for cell filtration) | -- | -- |
| Dulbecco's Modified Eagle's Medium (DMEM) | 30-2002 | Thermo Fisher |
| Fetal Bovine Serum (FBS) | SV30087.02 | Thermo Fisher |
| Dulbecco's Phosphate-Buffered Saline (DPBS), No Calcium, No Magnesium (for cell washing) | 14190144 | Thermo Fisher |
| Trypan Blue Stain (0.4%) (for cell counting) | T10282 | Thermo Fisher |
| Countess® II Automated Cell Counting Chamber Slides (for cell counting) | C10228 | Thermo Fisher |
| Sterile Polypropylene 50 mL Centrifuge Tubes (other equivalent brands are acceptable) | -- | BD |
| Sterile Polypropylene 15 mL Centrifuge Tubes (other equivalent brands are acceptable) | -- | BD |
| DNA LoBind Tubes, 1.5mL (other equivalent brands are acceptable) | 022431048 | Eppendorf |
| 1mL/200μL /100μL /10μL Pipettes | -- | Eppendorf |
| 1mL/200μL /100μL/10μL Sterile Filtered Pipette Tips | -- | Axygen |
| Wide-Bore Pipette Tips / Sterile Transfer Pipettes | -- | -- |

## Experimental Procedure

### Preparation Work

- Preheat the constant temperature water bath to 37°C;

- Prepare crushed ice or an ice box;

- Prepare complete medium: DMEM containing 10% FBS, preheated to 37°C;

- Prepare tissue digestion solution: 0.25% Trypsin + 10μg/mL DNase I, preheated to 37°C;

- Precool 1X DPBS at 4°C;

- Prepare washing solution and suspension: 1X DPBS solution containing 2% FBS, precooled at 4°C;

- Precool 1X Red Blood Cell Lysis Solution at 4°C;

### Preparation of Cell Suspension

- Place the tissue in a sterile Petri dish, add 10mL of 4°C precooled 1X DPBS for rinsing, repeat 1-2 times to remove residual tissue preservation solution;

- Transfer the rinsed tissue to a new Petri dish, add a small amount of digestion solution, and cut into small pieces of approximately 1-2mm³;

- Transfer the cut tissue into a 50mL centrifuge tube containing 5mL of digestion solution, place it in a 37°C water bath for shaking digestion. If there is no constant temperature shaking water bath, a regular water bath can be used for manual digestion. Gently shake the digestion solution every 3-5 minutes; do not shake violently;

- After digestion, add an equal volume of complete medium to terminate digestion. Pass the digestion solution through a pre-wetted 40μm cell strainer, and collect the filtrate into a new 50mL centrifuge tube;

- Rinse the cell strainer with 10mL of complete medium, and collect the filtrate into the same centrifuge tube;

- Centrifuge at 400rcf for 10 minutes, discard the supernatant;

- Add 5mL of 1X DPBS (containing 2% FBS), gently pipette to mix, and resuspend the cells;

- Centrifuge at 300rcf for 5 minutes, discard the supernatant;

- Add 3mL of precooled 1X Red Blood Cell Lysis Solution to the cell pellet, gently pipette to mix (do not vortex), and incubate at room temperature for 3 minutes; (this step can be omitted if there are no red blood cells)

- Centrifuge at 300rcf for 5 minutes, discard the supernatant;

- Add 5mL of precooled 1X DPBS containing 2% FBS, gently pipette to mix;

- Centrifuge at 300rcf for 5 minutes, discard the supernatant;

- Add an appropriate amount of 1X DPBS (containing 2% FBS), gently pipette to mix, place on ice, and prepare for counting.

### 3.2.3 Cell Counting and Cell Viability Determination

- For cell counting, you can choose the Countess® II Automated Cell Counter for automatic counting or a hemocytometer for manual counting;

- Gently pipette the cell suspension, take 10μL of cells and 10μL of 0.4% Trypan Blue, mix gently, then take 10μL and quickly add it to the Countess® II Cell Counting Chamber Slide or hemocytometer.

### Determination Results

#### Table 3.2.3 Cell Counting and Cell Viability Determination

| No. | Sample Name | Cell counts | Viability (%) | Con. (cells/μL) |
| --- | --- | --- | --- | --- |
| 1 | OC-1 | 126000 | \ | 1220 |
| 2 | F-1 | 116000 | \ | 1090 |
| 3 | OC-2 | 186000 | \ | 1640 |
| 4 | F-2 | 149000 | \ | 1290 |
| 5 | 20240911-WJR-HZ | 202000 | \ | 1480 |
| 6 | 20240911-WJR-QE | 401000 | \ | 1660 |

Remarks: Quality Control Requirements for Single-Cell Suspension

- Total cell count: 20,000 - 100,000;

- Viability > 80%; samples with viability below 80% are not recommended for on-machine use;

- No cell adhesion (clumping rate < 5%);

- No cell debris or other particles larger than 40μm;

- No reverse transcriptase inhibitors or non-cellular nucleic acid molecules.

# 4. Single-Cell Sequencing Experiment

## Experimental Materials

### Table 4.1-1 Instrumentation

| Product Name | Model | Manufacturer |
| --- | --- | --- |
| Single-Cell Sorting System | DNBelab C4 | Qingdao MGI Tech Co., Ltd. |
| Magnetic Rack | 10X Magnetic Separator | 10X Genomics |
| PCR Instrument | Veriti 96-Well Thermal Cycler | Thermo Fisher |
| Vortex Mixer | Vortex-6 | Qilin Bell |
| Dry Bath Incubator | Heat block | Major |
| Nucleic Acid Quantifier | Qubit 4.0 Fluorometer | Thermo Fisher |
| Capillary Electrophoresis | 2100 Bioanalyzer | Agilent |

### Table 4.1-2 Reagents and Consumables

| Product Name | Catalog Number | Manufacturer |
| --- | --- | --- |
| DNBelab C Series High-Throughput Single-Cell RNA Library Preparation Kit 1 (Droplet Generation Module) | 940-000051-00 | Qingdao MGI Tech Co., Ltd. |
| DNBelab C Series High-Throughput Single-Cell RNA Library Preparation Kit 2 (Droplet Generation Module) | 940-000050-00 | Qingdao MGI Tech Co., Ltd. |
| DNBelab C Series High-Throughput Single-Cell RNA Library Preparation Kit 3 (Library Construction Module) | 940-000048-00 | Qingdao MGI Tech Co., Ltd. |
| DNBelab C Series High-Throughput Single-Cell RNA Library Preparation Kit 4 (Library Construction Module) | 940-000049-00 | Qingdao MGI Tech Co., Ltd. |
| DNBelab C Series High-Throughput Single-Cell RNA Library Preparation Kit 5 (Sequencing Module) | 940-000054-00 | Qingdao MGI Tech Co., Ltd. |
| DNBelab C Series High-Throughput Single-Cell RNA Library Preparation Kit 6 (Device Module) | 940-000053-00 | Qingdao MGI Tech Co., Ltd. |
| DNBelab C Series High-Throughput Single-Cell RNA Library Preparation Kit 7 (Slide Module) | 940-00005-00 | Qingdao MGI Tech Co., Ltd. |
| Qubit Assay Tube | Q32856 | Thermo Fisher |
| ExKubit dsDNA HS | NGS00-3012 | ExCell Bio |
| High Sensitivity DNA Kit | 5067-4626 | Agilent |

## Experimental Procedure

### DNBelab C4 On-Machine Demulsification and Reverse Transcription

- Add the prepared cell (nucleus) suspension, P50 oil, and magnetic bead suspension into different chambers of the well holes on the slide respectively, and form a water-in-oil system through the DNBelab C4 system;

- Remove the water-in-oil system from the instrument, let it stand at room temperature for 20 minutes, then perform demulsification;

- Prepare reagents required for the reverse transcription program;

- Mix the demulsified product with reverse transcription reagents, transfer to a PCR instrument, and perform reverse transcription according to the program;

- Perform second-strand synthesis on the reversed product;

- Perform amplification of cDNA and oligo products and sorting of amplified products;

- Detect the concentration of cDNA using Qubit, and detect the fragment size using Agilent 2100.

#### Table 4.2.1 cDNA Quality Inspection Results

| No. | Sample Name | Con. (ng/μL) | Peak Length (bp) |
| --- | --- | --- | --- |
| 1 | OC-1 | 45.4 | 1320 |
| 2 | F-1 | 99.8 | 1198 |
| 3 | OC-2 | 102 | 1292 |
| 4 | F-2 | 104 | 1270 |
| 5 | 20240911-WJR-HZ | 30.6 | 1511 |
| 6 | 20240911-WJR-QE | 34.5 | 940 |

Agilent 2100 Bioanalyzer Detection Peak Diagrams are as follows（Note: The diagram links in the original document are retained here; if you need to insert the diagrams, you can copy the original diagram files and paste them into the corresponding positions of the Word document）

### Sequencing Library Construction

- After purification of cDNA and oligo products, perform DNA library construction and oligo product library construction respectively according to the procedure;

- Amplify the two library products with specific adapters (scRNA Barcode Primer) for subsequent sequencing;

- Detect the concentration of the library using Qubit, and detect the fragment size using Agilent 4200.

#### Table 4.2.2 Library Quality Inspection Results

| No. | Sample Name | Index No. | Con. (ng/μL) | Peak Length (bp) |
| --- | --- | --- | --- | --- |
| 1 | OC-1 oligo | 20 | 38.2 | 187 |
| 2 | F-1 oligo | 21 | 48.4 | 185 |
| 3 | OC-2 oligo | 22 | 45 | 186 |
| 4 | F-2 oligo | 23 | 58.4 | 185 |
| 5 | OC-1 | 20 | 20.2 | 385 |
| 6 | F-1 | 21 | 21.4 | 399 |
| 7 | OC-2 | 22 | 14.1 | 399 |
| 8 | F-2 | 23 | 37.8 | 382 |
| 9 | 20240911-WJR-HZ oligo | 19 | 31.2 | 452 |
| 10 | 20240911-WJR-HZ | 19 | 25.8 | 511 |
| 11 | 20240911-WJR-QE oligo | 24 | 21.6 | 440 |
| 12 | 20240911-WJR-QE | 24 | 30.0 | 431 |

Agilent 4200 Bioanalyzer Detection Peak Diagrams are as follows（Note: The diagram links in the original document are retained here; if you need to insert the diagrams, you can copy the original diagram files and paste them into the corresponding positions of the Word document）

### On-Machine Sequencing

Perform sequencing according to the operation procedure of the MGISEQ-2000RS sequencing platform, and conduct real-time data analysis.